## Slide 1: Realistic Constraints, Engineering Standards and Modern Engineering Tools for Thailand Water Supply System
Steve Bonk
Kevin Dischino
Joseph Moore

## Slide 2: Standards
American Concrete Institute (ACI) Standards
American Society for Testing and Materials (ASTM)

## Slide 3: Realistic Constraints
Economic
  Must be Economical and Simple to Construct
Political Impact
  Maintenance Plan Should be Fair and Involve all Village Members (Equal Tax)
  Should Supply Entire Population
  Tanks Located on Village Property

## Slide 4: Realistic Constraints Cont…
Sustainability
  Easy for Village Members to Maintain
  O&M Manual Translated Into Thai
  Pumps Powered Sustainably
Health and Safety
  Provide Clean Drinking Water
  Sufficient Water Pressure Under Dynamic Conditions at Max Hourly Flow per Year
  Water Storage Tank Capacity based on 3 Day Supply

## Slide 5: Modern Engineering Tools
WaterCAD
Microsoft Excel

## Slide 6
Thank You